## Slide 1: PMC-592 HMI's Front Panel Operation
September 29, 2016

## Slide 2
PMC-592 HMI‘s Front Panel Operation — Basic Info
Model: PMC-592-HMI-AE
Power Supply: 24VDC/ 10W
Operating Temp: 0-50℃
Firmware Version: V2.03

## Slide 3
PMC-592 HMI‘s Front Panel Operation — Main Menu
10 functions
1. Mains Meters
2. Branch Meters
3. Status
4. Trend
5. Wiring Diagram
6. Max/ Min
7. Events
8. Setup
9. Clear & Reset
10. About
Main Menu

## Slide 4
Mains Meters
Real-time
Energy
Demand
Harmonics
PMC-592 HMI‘s Front Panel Operation — Mains Meters

## Slide 5
Measurements:
I Per Phase and Average
Neutral Current
Loading
Notes: The calculation Method of Ia/b/c Loading is listed below:
Measurements:
Two Mains Real-time Voltage
Frequency
Mains Meters — Real-time
Ia/Ib/Ic

## Slide 6
Measurements:
Unbalance
Calculation Method:
RTD1/2 Temperature and Resistance Value
Mains Meters — Real-time
Measurements:
kW
kvar
kVA
PF

## Slide 7
Measurements:
DI Status
DO Status
Mains Meters — Real-time

## Slide 8
Mains Meters — Energy and Demand
Measurements:
Mains-I/II kWh Import
Mains-I/II kWh Export
Mains-I/II kvarh Import
Mains-I/II kvarh Export
Mains-I/II kVAh Total
Measurements:
Ia/Ib/Ic Demand
kW Demand
kvar Demand and kVA Demand
Demand is defined as the average power consumption over a fixed interval (usually 15 minutes).

## Slide 9
Mains Meters — Harmonics
Measurements:
Mains-I/II Current 2nd to 31st Harmonic Voltage 2nd to 31st Harmonic, Current THD/TOHD/TEHD and Voltage THD/TOHD/TEHD.

## Slide 10
Branch Meters
Real-time
Energy
Demand
Harmonics
PMC-592 HMI‘s Front Panel Operation — Branch Meters

## Slide 11
Branch Meters — Real-time
Measurements:
1-Phase SM1 to SM84 Current
2-Phase SM1 to SM42 Current
3-Phase SM1 to SM28 Current
Measurements:
1-Phase SM1 to SM84 kW
2-Phase SM1 to SM42 kW
3-Phase SM1 to SM28 kW
VM1 to VM10 kW

## Slide 12
Branch Meters — Real-time
Measurements:
1-Phase SM1 to SM84 kvar
2-Phase SM1 to SM42 kvar
3-Phase SM1 to SM28 kvar
Measurements:
1-Phase SM1 to SM84 kVA
2-Phase SM1 to SM42 kVA
3-Phase SM1 to SM28 kVA

## Slide 13
Branch Meters — Real-time
Measurements:
1-Phase SM1 to SM84 PF
2-Phase SM1 to SM42 PF
3-Phase SM1 to SM28 PF
Measurements:
1-Phase SM1 to SM84 Current Loading Rate
2-Phase SM1 to SM42 Current Loading Rate
3-Phase SM1 to SM28 Current Loading Rate

## Slide 14
Branch Meters — Energy
Measurements:
1-Phase SM1 to SM84 kWh
2-Phase SM1 to SM42 kWh
3-Phase SM1 to SM28 kWh
VM1 to VM10 kWh
Measurements:
1-Phase SM1 to SM84 kvarh
2-Phase SM1 to SM42 kvarh
3-Phase SM1 to SM28 kvarh
VM1 to VM10 kvarh

## Slide 15
Branch Meters — Energy and Harmonics
Measurements:
1-phase SM1 to SM84 kVAh
2-phase SM1 to SM42 kVAh
3-phase SM1 to SM28 kVAh
VM1 to VM10 kVAh
Measurements:
SM1 to SM84 Current THD

## Slide 16
Branch Meters — Demand
Measurements:
1-Phase SM1 to SM84 Current Demand
2-Phase SM1 to SM42 Current Demand
3-Phase SM1 to SM28 Current Demand
Measurements:
1-Phase SM1 to SM84 kW Demand
2-Phase SM1 to SM42 kW Demand
3-Phase SM1 to SM28 kW Demand

## Slide 17
Branch Meters — Demand
Measurements:
1-Phase SM1 to SM84 kvar Demand
2-Phase SM1 to SM42 kvar Demand
3-Phase SM1 to SM28 kvar Demand
Measurements:
1-Phase SM1 to SM84 kVA Demand
2-Phase SM1 to SM42 kVA Demand
3-Phase SM1 to SM28 kVA Demand

## Slide 18
Status
Summary
Details
DI Module Status
PMC-592 HMI‘s Front Panel Operation — Status

## Slide 19
Status — Summary
Measurements:
Global instantaneous type alarm status summary
Global stability state of alarm summary

## Slide 20
Status — Details
Measurements:
Displays Instantaneous and Latched Alarm
Mains-I Global Alarm
Mains-I Voltage Alarm
Mains-I Current Alarm
Mains-I Power Alarm
Mains-I Harmonics Alarm
Mains-I Unbalance Alarm
Measurements:
Displays Instantaneous and Latched Alarm
Mains-II Global Alarm
Mains-II Voltage Alarm
Mains-II Current Alarm
Mains-II Power Alarm
Mains-II Harmonics Alarm
Mains-II Unbalance Alarm

## Slide 21
Status — Details
Measurements:
Displays Instantaneous and Latched Alarm
SM1 to SM84 Alarm Status
Measurements:
Displays Instantaneous and Latched Alarm
Temperature Alarm Status
DI Alarm Status

## Slide 22
Status — Details
Measurements:
Mains Alarm Count
SM1 to SM84 Alarm Count

## Slide 23
Status — DI Module Status
Measurements:
DI Module On-Off Status

## Slide 24
Max/Min
Mains Max Demand
Mains Max/Min
Branch Max Demand
PMC-592 HMI‘s Front Panel Operation — Max/ Min
Branch Max

## Slide 25
Max/ Min — Mains Max Demand
Measurements:
Mains-I/II Max Demand of last month, this month and History
Current Max Demand
kW Max Demand
kvar Demand
kVA Demand

## Slide 26
Max/ Min — Mains Max/ Min
Measurements:
Mains-I/II Max/ Min Data and Temperature of last month, this month and History

## Slide 27
Max/ Min — Branch Max Demand
Measurements:
SM1 to SM84 Max Demand of last month, this month and History
Current Max Demand kW Max Demand
kvar Demand kVA Demand

## Slide 28
Max/ Min — Branch Max
Measurements:
SM1 to SM84 Max Demand of last month, this month and History
Current Max Data kW Max Data
kvar Data kVA Data

## Slide 29
Max/ Min — Branch Max
Measurements:
PF Max Data
Loading Max Data
THD Max Data

## Slide 30
Setup
1. Basic Setup
2. Panel Name
3. Breaker Rating
4. Virtual Meter Setup
5. Alarm
6. Communication Setup
7. Record
8. Clock
9. Password
10. HMI
Password: 000000
PMC-592 HMI‘s Front Panel Operation — Setup

## Slide 31
Branch CT Ratio
Basic Setup
Setup— Basic Setup
Basic Setup and Mains Ratio

## Slide 32
Measurements:
System Basic Settings
Setup— Basic Setup

## Slide 33
Setup— Basic Setup
Measurements:
Branch CT Ratio Settings

## Slide 34
Setup— Panel Name and Breaker Rating
Measurements:
Panel Name Settings
Device Name Settings
Measurements:
Mains I/II Breaker Rating Settings

## Slide 35
Alarm Setup
1. Current
2. Current Dmd
3. Power
4. Power Dmd
5. Voltage
6. Frequency
6. Harmonics
7. Unbalance
7. PF
8. DI
9. Temperature
10. Phase Reversal & Loss
11. Transient
PMC-592 HMI‘s Front Panel Operation — Alarm Setup

## Slide 36
Measurements:
Current Alarm Settings
Power Alarm Settings
Setup— Alarm Setup

## Slide 37
Measurements:
Voltage Alarm Settings Frequency Alarm Settings
Harmonics Alarm Settings Unbalance Alarm Settings
Setup— Alarm Setup

## Slide 38
Measurements:
PF Alarm Settings DI Alarm Settings
Temperature Alarm Settings Phase Reversal & Loss Alarm Settings
Setup— Alarm Setup

## Slide 39
Setup— Alarm Setup
Measurements:
Dip/Swell Settings

## Slide 40
Setup— Virtual Meter and Communication Setup
Measurements:
VM 1 to VM 10 Virtual Meters Settings
Measurements:
P1 Communication Settings
P2 Communication Settings
P3 Communication Settings
Extension DI Module Settings

## Slide 41
Setup— Record and Clock Setup
Measurements:
WFR Settings
Energy Log Settings
Measurements:
Device Time Settings
SNTP Time Sync Settings

## Slide 42
Setup— Record and Clock Setup
Measurements:
Device Password Settings
Measurements:
HMI Brightness Settings
Backlight Time Settings
HMI Communication Settings